## Generic BGM BOQ
BOQ FORMAT
Project Name:
System: | AV-BGM
Location:
Client Name:
Design Engineer:
Revision Date:
GIVEN/SCOPE OF WORKS:
ASSUMPTIONS/NOTATION:
IAMS Code | Group | Category | Sub Cat | Type | Description | Brand | Model Code | Qty | UOM | Unit Price | SubTotal
I000000001 | [7 empty] | 1
I000000002 | [7 empty] | 2
I000000003 | [7 empty] | 3
TOTAL JSSS

## Sheet1
DATE OF HIRE | NAME | POSITION | DEPARTMENT | BRANCH | User Name
2018-07-02 | Joyce Anne M. Crisostomo | Product Manager | Trade Group - AMX Distribution | HO | j.crisostomo
| Clarisse A. Bambalan | Business Development Manager | Vimar Portfolio |  | c.bambalan
| Jeysel T. Operio | Cost Accountant | Accounting |  | j.operio
| Syvelstre Goddy S. Geroso | Pre-Sales Engineer | Trade Group - AMX Distribution |  | s.geroso

## Sample BGM BOQ
BOQ FORMAT
Project Name: | Seda Vertis North Hotel
System: | Background Music System
Location: | North Edsa
Client Name: | Ayala
Design Engineer: | Robin Manglicmot
Revision Date: | 2018-02-20
GIVEN/SCOPE OF WORKS:
1. Supply, Roughing-in, Wiring, Installation, Programming, Testing, and Commissioning of Background Music System.
2. Consist of three typical floor. Each floor consist of 10 celling speakers.
3. Assembling and mounting of Equipment.
4. Termination of speakers and mounting of speaker buffles.
5. Client prefers IMC Pipes for Roughing installation.
6. Client use compact PC and DVD player for BGM Source input.
ASSUMPTIONS/NOTATION:
1. All Equipment and wire dropoff are located inside AV room.
2. 220Vac tapping for the power supply of the equipment and devices shall be provided by Electrical Contractor.
No | Description |  | Brand | Model Code | Qty | UOM | Unit Price | SubTotal
A | Audio input
1 | Media Player
|  | DVD with USB 2.0, component video output, composite video output, digital audio output (coaxial) | Samsung | DVD-E360 | 1 | unit/s
TOTAL A
B | Audio Output
2 | Speakers
|  | Ceiling speaker with Combined 70V/100V and low impedance direct operation •50 Watts at 8Ω nominal setting • 30W multi-tap at 70V/100V | JBL | JBL 16/CT | 30 | pc/s
TOTAL B
C | Main Equipment/Controller/Mixer
1 | Multi channel Amplifier
|  | Crown DCI 4/300 amplifier (4-channel; 300 W) note: number of speakers /Watts should not exceed 240 Watts | Crown | DCI 4¦300 | 1 | unit/s
D | Accessories
1 | Power Strip |  | Omni | 7 gang | 1 | pc/s
2 | 12RU wallmounted Audio Rack |  | Customized- c/o DBM | Customized- c/o DBM | 1 | pc/s
a. Power Distribution Unit
b. Flexyglass
c. Blank Panel
d. Fan
TOTAL D
E | Cable and Connectors
1 | Cables
|  | a. Philflex Twisted Pair #16 ( connects main equipment to speakers) | Philflex | TF Wire | 3 | roll/s
|  | b. Belden 9501 Audio cable (connects audio input to main equipment) | Belden | 9501 | 1 | roll/s
2 | Connectors
|  | a. 3.5 mini PL connector stereo | Amphenol | 3.5mm | 1 | pc/s
|  | b. 3.5 mini PL to RCA connector | Amphenol | 3.55mm to RCA | 1 | pc/s
|  | c. RCA connector Red | Amphenol | RCA connector | 5 | pc/s
|  | d. RCA connector Yellow | Amphenol | RCA connector | 5 | pc/s
TOTAL E
F | Roughing-in
Pipes and Fittings:
1 | IMC Pipes - 1" |  |  |  | 30 | pc/s
2 | IMC Pipes - 1/2" |  |  |  | 120 | pc/s
3 | IMC Coupling 1" |  |  |  | 60 | pc/s
4 | IMC Coupling 1/2" |  |  |  | 240 | pc/s
5 | IMC Straight Connector /lock - 1" |  |  |  | 60 | pc/s
6 | IMC Straight Connector /lock - 1/2" |  |  |  | 240 | pc/s
7 | IMC Connector 1" |  |  |  | 60 | pc/s
8 | IMC Connector 1/2 |  |  |  | 240 | pc/s
9 | Flexible Hose (metal)50mtrs/roll - 1" |  |  |  | 1 | roll/s
10 | Flexible Hose (metal)75m/roll - 1/2" |  |  |  | 1 | roll/s
11 | Boxes and Cabinets:
12 | Junction Octagonal Box w/ cover (metal) |  |  |  | 50 | pc/s
13 | Utility Box with Cover 2x4 (metal) |  |  |  | 20 | pc/s
14 | Pullbox with Cover, 300x300x200mm (metal) |  |  |  | 1 | pc/s
15 | Hangers and Supports:
16 | Conduit Hanger Clamp, 15mm |  |  |  | 150 | pc/s
17 | Strut Clamp, 15mm |  |  |  | 60 | pc/s
18 | 1/4" Strut Channel |  |  |  | 30 | pc/s
19 | 1/4" Full Threaded Rod |  |  |  | 70 | pc/s
20 | 1/4" Grip Anchor |  |  |  | 150 | pc/s
21 | 1/4" Nuts and 3/8" Washers |  |  |  | 100 | pc/s
22 | 1/4" Tox and Screw |  |  |  | 300 | pc/s
23 | #14 AWG G.I. Wire (50meters/kg) |  |  |  | 2 | kg/s
TOTAL F
G | Miscellaneous
1 | Cable Tie #12 - 100 pcs |  |  |  | 1 | pack/s
2 | Cable Tie #8 - 100 pcs |  |  |  | 2 | pack/s
3 | Double Adhesive tape (mounting tape) |  |  |  | 2 | pc/s
4 | Electrical Tape |  |  |  | 10 | pc/s
5 | Hacksaw Blade (sandflex) |  |  |  | 3 | pc/s
6 | Masking tape |  |  |  | 5 | pc/s
7 | Velco Strap |  |  |  | 10 | meter/s
TOTAL G
H | Exclusive Tools & Equipment (needed if tools and needed quantities are not available in ITI warehouse)
1 | Electronic Labeler |  |  |  |  | unit/s
2 | Screw Driver |  |  |  |  | pc/s
3 | Crimper |  |  |  |  | pc/s
4 | Lan Tester |  |  |  |  | unit/s
5 | Wire Cutter |  |  |  |  | pc/s
6 | Pliers |  |  |  |  | pc/s
7 | Electric Hand Drill |  |  |  |  | pc/s
8 | Grinder |  |  |  |  | pc/s
9 | Safety Helmet |  |  |  |  | pc/s
10 | Safety Gloves |  |  |  |  | pc/s
11 | Safety Shoes |  |  |  |  | pc/s
12 | Ladder, 6ft. |  |  |  |  | pc/s
13 | Scaffolding , 2 Layers (default is rental; need to specify if client will purchase) |  |  |  |  | set/s
TOTAL H
I | Technical Services
1 | Installation |  |  |  | 1 | lot
2 | Roughing-In Works |  |  |  | 1 | lot
3 | Wiring Works |  |  |  | 1 | lot
4 | Chipping & Restoration |  |  |  | 1 | lot
5 | Painting Works |  |  |  | 1 | lot
6 | Programming |  |  |  | 1 | lot
7 | Testing & Commissioning |  |  |  | 1 | lot
TOTAL I
J | General Services
1 | Delivery / Freight Cost |  |  |  | 1 | lot
2 | Mobilization / De-Mobilzation |  |  |  | 1 | lot
a. TEMPFACIL (temporary facility)
|  | Container Van (rented or purchased) |  |  | 1 | lot
|  | Fabricated (concrete, metal, or wood) |  |  | 1 | lot
| b. Power Consumption |  |  |  | 1 | lot
| c. Water Consumption |  |  |  | 1 | lot
| d. Internet Consumption |  |  |  | 1 | lot
3 | Bonds & Insurances
| a. CARI |  |  |  | 1 | lot
| b. Downpayment Bond |  |  |  | 1 | lot
| c. Performance Bond |  |  |  | 1 | lot
| d. Retention Bond |  |  |  | 1 | lot
4 | Permits & Licenses
| a. Local Municipality Fee |  |  |  | 1 | lot
| b. As-Built-Plans |  |  |  | 1 | lot
| c. Contractor's Tax |  |  |  | 1 | lot
5 | Project Management
| a. Project Manager |  |  |  | 1 | lot
| b. Project Engineer |  |  |  | 1 | lot
| c. Safety Officer |  |  |  | 1 | lot
| d. First Aider |  |  |  | 1 | lot
| e. Technical Engineer |  |  |  | 1 | lot
| f. QA/QC Engineer |  |  |  | 1 | lot
6 | Out Of Town Expenses
| a. Transportation |  |  |  | 1 | lot
| b. Per Diem / Food Allowance |  |  |  | 1 | lot
| c. Accommodation / Lodging |  |  |  | 1 | lot
TOTAL J